## Slide 1: Control System Applications (2)
Programming Logic Controllers
PLCs
Lect. 3
Dr. Tarek Ahmed Mahmoud
Dr. Samah Abdahaleem
2018-2019

## Slide 2: Outlines
Introduction to PLC
What ?
Historical overview (When ?)
PLC Control Systems Advantages (Why?)
Principles of PLC Operation
PLC System Components
PLC Programming
Control System Components (Review)
TSX NANO PLCs

## Slide 3: Control System Components
Control System Components
Controlled System
Sensors
Controller
Actuators
I/P
O/P

## Slide 4
Control System Components
Sensors
Controller
Actuators
I/P
O/P
3- Controller (Hardwired control- PLC)
1- Sensors (Analog Sensor-Digital Sensors)
2- Actuators (Analog Actuators-Digital Actuators)
sensors
Actuators
Controller

## Slide 5: Control System Components (cont.)
SE
Start
Stop

## Slide 6: Control System Components (cont.)

## Slide 7: Introduction to PLC
+
-
+
-
Hardwired control system
If key 1 AND key 2 are closed
The lamp is on
Else
The lamp is off
Microprocessor
Key 1
Key 2
What?
Microprocessor-Controlled System

## Slide 8
If key 1 OR key 2 are closed
The lamp is on
Else
The lamp is off
Microprocessor
Key 1
Key 2
Lamp
Hardwired control
Microprocessor-Controlled Systems

## Slide 9: Microprocessor-Controlled Systems versus Hardwired Controlled Systems
Input devices
Relay –Logic Circuits
Output devices
Input devices
Program in a microprocessor
Output devices

## Slide 10
The Programmable Logic Controller (What?)
PLC is a special form of microprocessor-based controller
It uses programmable memory to store instructions and to implement functions such as logic, sequencing, timing, counting, and arithmetic in order to control machines and processes.

## Slide 11
Motivations
- The control rooms consisted of several walls
- Troubleshooting
- The lack of flexibility to expand the process
The Programmable Logic Controller (When?)
Birth of PLC
Standard machine controller
- Proposed by Bill Stone , 1968
( He was part of a group of engineers at the General Motors Corporation)
Five hours to find it and five minutes to fix it

## Slide 12
The Race is on
- Allen-Bradley
- Modicon
- Bedford Associates
The Programmable Logic Controller (When?)

## Slide 13: PLC Control System (Basic Structure)
O/P
Controlled System
Sensors
Actuators
I/P
O/P

## Slide 14: PLC Control System
Controlled System
Sensors
Actuators
I/P
O/P
Advantages
Flexible
Less and simpler wire
Faster response time
Solid-state-no moving parts
Modular design- easy to expand
Sophisticated instruction sets available
Easy to troubleshoot
Less Expensive

## Slide 15
PLC System Components
CPU
The power supply unit
The programming device
The memory unit
The input and output modules

## Slide 16: PLC System Components (cont.)
Central Processing Unit (CPU)
The internal structure of the CPU depends on the microprocessor concerned
CPUs have
- Arithmetic Logic Unit
- Registers to store the information involved in program execution
- Control unit is used to control the timing of operations

## Slide 17
PLC System Components (cont.)
Memory
ROM : Permanent storage for the operating system and fixed
data for the CPU.
RAM : is used for the user’s program
2 parts (blocks of data)
The First block for I/O ports
The second block for preset data, counters, timers
EPROM : is used to store programs permanently (Possibly, as an extra module)

## Slide 18
PLC System Components (cont.)
Input/output Units
These units provide the interface between the CPU and I/O devices (sensors and actuators).
Every input/output point has a unique address that can be used by the CPU.
The input/output channels provide isolation
An opt-isolator.

## Slide 19
PLC System Components (cont.)
Input/output Units (cont.)
The input/output channels also provide conditioning functions
Input levels.
Output levels.

## Slide 20
Output unit types:
Input/output Units (cont.)
1- With the relay type
Switch small current to higher
Isolates the PLC from the external circuit
Suitable for DC and AC switching
But relatively slow to operate
2- With Transistor type
Considerably faster switching action
Optoisolators are needed
Suitable for DC only
But it is destroyed by overcurrent
and high reverse voltage
3- With Triac type
Optoisolators are needed
Suitable for AC only
But it is destroyed by overcurrent
and high reverse voltage

## Slide 21
Programming PLCs
The programming Device
1- Handheld programming
device
2- Desktop consoles
3- Personal computers
The program can be stored on the hard disk or a CD and copies can be easily made.